# Chamber Upgrades

Updated: April 1, 2026

Priority Scale:

| 1 | Essential | Required for the system to function properly |
| --- | --- | --- |
| 2 | Very Important | Strongly needed, but not technically essential |
| 3 | Important | Improves user experience and efficiency |
| 4 | Low Priority | Slightly improves user experience |
| 5 | Nice to Have | Minor additions for aesthetics and polish |

List of recommended modifications to the antenna measurement software and hardware

| Priority | Description | More Details |
| --- | --- | --- |
| 3 | Set angular range of measurement for a 2D cut | Currently, the software will measure the radiation patterns over the full 360° range. In the custom pattern option, there should be an option to specify the start and stop angles. |
| 2 | Electronically control orientation of the horn antenna (Rx) | The Rx antenna sits on a platform that can be rotated with a motor. Currently, the script to control the motor has not been implemented. The script for controlling this motor does not have to be integrated with the main chamber software. |
| 4 | Do gain conversion inside the software | Currently, the software only writes S21 values to a CSV file. If one can load a gain calibration file, the software could also write the gain values in the CSV file. |
| 4 | Write in the console when the VNA data is collected and when the motor position is changing | From my understanding, the data collection from the VNA and the positioner movement are on separate threads. So in theory if we specify too many frequency points without adding sufficient delay, there might not be enough time to collect VNA data before the positioner moves again. If we can have some indication if things are in sync by printing to the console that would be good. |
| 1000 | For the memes | ANNOUNCE ON SPEAKERS THAT A MEASUREMENT IS BEGINNING AND FLASH BRIGHT RED LIGHTS ALL OVER THE LAB. HELL, SEND AUTOMATED EMAIL MESSAGES TO THE DOE OFFICE AND THE NEAREST FIRE STATION |